## Sheet1
Guardtech Group | CleanCube | Enquiry Checklist
Please email your completed checklist to: sales@guardtech.com | User Requirement Specification (URS) Yes or No?
Name | [YOUR NAME]
Company | [YOUR COMPANY]
Position | [YOUR ROLE]
Location | [YOUR BUSINESS LOCATION]
Telephone number | [YOUR CONTACT NUMBER]
Email address | [YOUR EMAIL]
Delivery address | [DELIVERY ADDRESS]
How did you hear about us? [select one] | Google? Bing? Word of mouth? Email? Facebook? Twitter? LinkedIn? Magazine advert? Exhibition? Other?
Base Model [select one] | Mini (20ft container) | Midi (40ft container) | Maxi (40ft double container) | Multi (modular buildings) | Mobi (3.5-ton van) | Mobi+ (7.5-ton van)
Internal rooms | One or two? [Mini] | One, two, three or four? [Midi] | One, two, three or four? [Maxi] | How many do you require? [Multi] | One or two? [Mobi] | One or two? [Mobi+]
Function [select one] | Cleanroom? | Laboratory? | Biosafety laboratory?
Classification [select one] | ISO8? ISO7? ISO6? ISO5? | Non classified | BSL1? | BSL2 | BSL2+? | BSL3+?
Ceiling height | 2.1m? | 2.5m? | 2.7m?
Panel system | Fully flush? | Semi flush?
Doors | Rapid roll? | Powder-coated steel? | GRP?
Windows [quantity] | How many?
Flooring [select one] | Vinyl? | ESD Vinyl?
Temperature & humidity | 20 °C +/- 3 °C Relative humidity – uncontrolled | 20 °C +/- 2 °C Relative humidity – 40-60%
Lighting | 500 Lux? | 750 Lux? | 1000 Lux? | 1250 Lux?
13-amp double sockets | Not applicable? | Total number required – ?? sockets
Network sockets | Not applicable? | Total number required – ?? sockets
3-phase power | Not applicable? | Total number required – ?? sockets
Other mechanical requirements | Compressed air? | Extraction? | Processed gasses? | Drainage? | Town's water supply?
Environmental monitoring | Not applicable? | Analogue? | Digital?
Furniture [quantity] | Stepover bench? [How many?] | Trespa work bench? [How many?] | Ergonomic chairs? [How many?] | Storage cabinet? [How many?] | Sink? [How many?] | Garment rail? [How many?] | Coat hooks? [How many?] | Bin? [How many?]
Equipment [quantity] | Laminar flow unit? [How many?] | Biosafety cabinet? [How many?] | Transfer hatch? [How many?] | Trolley hatch? [How many?]